## ROI Calculator
Item | VARIABLES | VALUE | UNIT
1 | LED - Wattage | 22 | Watts | PLEASE FILL IN THE DATA IN YELLOW
2 | LED - Single Unit Cost | 289.65 | Rand
3 | Current Wattage | 49.8 | Watts
4 | Current Single Unit Lamp Cost | 57.12 | Rand
5 | Number of Lamps | 1033 | Lamp(s)
6 | Running Time Per Day | 12 | Hours
7 | Operational Days (per year) | 345 | Days
8 | Cost of energy / KwHrs | 1.75 | Rand
Item | CALCUATIONS | CURRENT | LED
A | Electrical Costs
9 | Electrical Load of Lamp(s) | 51443.4 | 22726
10 | Running Time Per Year in Hours | 4140 | 4140
11 | Energy Consumed per year (KwHrs) | 212975.676 | 94085.64
12 | Electrical Demand Saving (KwHrs) | 0 | 118890.036
13 | Total Cost of Energy (per year) | 372707.433 | 164649.87
14 | Savings Electrical (per year) | 0 | 208057.563
B | Capital Requirements
15 | Purchase Costs | 59004.96 | 299208.45
C | Maintenance Requirements
16 | Life Time of lamp (operating hrs) | 1500 | 50000
17 | Replacements required (per year) | 2851.08 | 85.5324
18 | Replacement Costs (per year) [38 x 4] | 162853.6896 | 24774.4597
19 | Total Maintenance Costs (per year) | 162853.6896 | 24774.4597
20 | Saving Maintenance (per year) | 0 | 138079.2299
Item | ROI RESULTS | CURRENT | LED
21 | Total Operating Cost (per Year) | 535561.1226 | 189424.3297
22 | Total Savings First Year Savings Electrical + Savings Maintenance | 0 | 346136.7929
23 | Payback Period in Months | n/a | 10.3731
24 | LED Savings over 5 Years incl inflation of 10% | 0 | 2113199.7346